## Slide 1
Metrology Design
Project Name:J510
Part Number & Rev：160-06631-01
Vendor：MAGSOUND
Date：2025/12/02

## Slide 2: MTD | J510-Content-160-06631-01
Cover sheet | Page 1
Content | Page 2
history List | Page 3
Measurement Equipment Details | Page 4-9
Measurement Fixture List | Page 10
Bom List | Page 11
Details for Each Measurement | Page 12-22

## Slide 3
Name: | KEYENCE |  | 
Manufacturer: | KEYENCE |  | 
Model: | IM7010 |  | 
Image pickup device: | 1#6.6 mega pixel monochrome CMOS |  | 
Display: | 10.4# LCD monitor |  | 
Light receiving lens: | Double telecentric lens |  | 
Field of view: | Wide-field measurement mode Φ100x200mm |  | 
 | High-precision measurement mode Φ25x125mm |  | 
Minimum display unit: | 0.1μm |  | 
Repetition Accuracy: | Wide-field measurement mode: | W/0 Stage Movement: ±1μm | 
 |  | With Stage Movement: ±2μm | 
 | High-precision measurement mode: | W/0 Stage Movement: ±0.5μm | 
 |  | With Stage Movement: ±1.5μm | 
Measurement Accuracy: | Wide-field measurement mode: | W/0 Stage Movement: ±5μm | 
 |  | With Stage Movement: ±(7+0.01L)μm | 
 | High-precision measurement mode: | W/0 Stage Movement: ±2μm | 
 |  | With Stage Movement: ±(4+0.01L)μm | 
MTD | J510 Measurement Equipment Details-Keyence

## Slide 4
Name: | KEYENCE |  | 
Manufacturer: | KEYENCE |  | 
Model: | IM7010 |  | 
Image pickup device: | 1#6.6 mega pixel monochrome CMOS |  | 
Display: | 10.4# LCD monitor |  | 
Light receiving lens: | Double telecentric lens |  | 
Field of view: | Wide-field measurement mode Φ100x200mm |  | 
 | High-precision measurement mode Φ25x125mm |  | 
Minimum display unit: | 0.1μm |  | 
Repetition Accuracy: | Wide-field measurement mode: | W/0 Stage Movement: ±1μm | 
 |  | With Stage Movement: ±2μm | 
 | High-precision measurement mode: | W/0 Stage Movement: ±0.5μm | 
 |  | With Stage Movement: ±1.5μm | 
Measurement Accuracy: | Wide-field measurement mode: | W/0 Stage Movement: ±5μm | 
 |  | With Stage Movement: ±(7+0.01L)μm | 
 | High-precision measurement mode: | W/0 Stage Movement: ±2μm | 
 |  | With Stage Movement: ±(4+0.01L)μm | 
MTD | J510 Measurement Equipment Details-Keyence

## Slide 5
Name: | KEYENCE |  | 
Manufacturer: | KEYENCE |  | 
Model: | IM7010 |  | 
Image pickup device: | 1#6.6 mega pixel monochrome CMOS |  | 
Display: | 10.4# LCD monitor |  | 
Light receiving lens: | Double telecentric lens |  | 
Field of view: | Wide-field measurement mode Φ100x200mm |  | 
 | High-precision measurement mode Φ25x125mm |  | 
Minimum display unit: | 0.1μm |  | 
Repetition Accuracy: | Wide-field measurement mode: | W/0 Stage Movement: ±1μm | 
 |  | With Stage Movement: ±2μm | 
 | High-precision measurement mode: | W/0 Stage Movement: ±0.5μm | 
 |  | With Stage Movement: ±1.5μm | 
Measurement Accuracy: | Wide-field measurement mode: | W/0 Stage Movement: ±5μm | 
 |  | With Stage Movement: ±(7+0.01L)μm | 
 | High-precision measurement mode: | W/0 Stage Movement: ±2μm | 
 |  | With Stage Movement: ±(4+0.01L)μm | 
MTD | J510 Measurement Equipment Details-Keyence

## Slide 6: MTD | J510- revision history List 160-06631-01
APNs | Rev | Update | Description of Revision
160-06631 | 01 | 2025/10/28 | Initial Release, Fliped Poles And Shifted Unmagnetized Region By 1.7mm